ORDINANCE NO. 21-15

AN ORDINANCE OF THE CITY OF PORTAGE, INDIANA

AMENDING SECTION 82-82(b) OF THE MUNICIPAL CODE ENTITLED

“Excessive Strength Sanitary Surcharge Rates”

BE IT, AND IT HEREBY IS, ORDAINED by the Common Council of the City of Portage, Indiana as follows:

Section 1.	Ordinance Amendment.  Chapter 82, Article II, Division 4, Section 82, Subsection (b) entitled “Excessive Strength Sanitary Surcharge Rates” shall be amended by replacing the existing text in its entirety with the following new text:

Excessive strength sanitary surcharge rates: Industrial customers or customers requiring a state or local pretreatment permit whose surcharge parameter test exceeds the surcharge limits stated below, will be charged an excessive strength surcharge fee. This surcharge fee will be charged for each pound of a pollutant over the surcharge limit. The fee will be charged for each parameter on each day the surcharge limit has been exceeded. The fee will be charged for each day of discharge until the ensuing test results are below the surcharge limit. For example, if the parameter is not tested for three days after the first event, the user will be charged for each day until it is tested again, provided that the next testing is below the surcharge limit.

Excessive Strength

Surcharge Parameters						Charge per Pound

Carbonaceous biological oxygen demand (CBOD)
in Excess of 300 mg/l							$0.31

Total Suspended Solids (TSS) in Excess of 30 mg/l			$0.26

Ammonia (NH3) in Excess of 30 mg/l				$0.53

Phosphorus (P) in Excess of 8 mg/l					$2.42

The excessive strength sanitary surcharge rates shall increase by three percent on January 1 of each year.

Section 2. 	Conflicting Ordinances.  Any Ordinance or provision of any Ordinance of the City of Portage or of the Municipal code of the City of Portage in conflict with the provisions of this Ordinance is hereby repealed.

Section 3. 	Severability.  The invalidity of any section, clause, sentence, or provision of this Ordinance shall not affect the validity of any other part of this Ordinance which can be given effect without such invalid part or parts.

Section 4. 	Effective Date.  This Ordinance shall be in full force and effect from and after its passage and approval by the Mayor of the City of Portage and publication as required by law.

PASSED AND ADOPTED by the Common Council of the City of Portage,

Porter County, Indiana, on the 3rd day of August 2021.

Presiding Officer

ATTEST:

Nina Rivas

Clerk-Treasurer

Presented by me to the Mayor of the City of Portage, Porter County, Indiana,

this ______ day of ____________, 2021.

Nina Rivas

Clerk-Treasurer

Approved by me, the Mayor of the City of Portage, Porter County, Indiana, this

______ day of ____________, 2021.

Sue Lynch

Mayor